LED SURFACE PANEL LIGHTS  WITH SIDE LIGHT

ITEM NO: VT-809 RD, WATTS: 8W

| Item No: | VT-809 RD |
| --- | --- |
| SKU Code | 4890:3000K |
| Shape | Round |
| Real Watts | 8W |
| EQ. Watts | 24W |
| Voltage | AC:100-240V |
| Input Frequency | 50/60Hz |
| Input Efficiency | 70lm/w |
| Lumen(lm) | 560lm |
| PF | >0.5 |
| RA | >75 |
| Color Temperature | 3000K,4500K,6000K |
| Beam Angle | 120’D |
| LED Qty | SMD |
| Protection Class | IP20 |
| Color of Fixture | Powder Coating Die cast (PKW) |
| Body Material | Aluminum |
| Dimmable | No |
| Unit size | ø150x40mm |
| Life Time | 20,000hrs |
| Operation Temperature | -25 ~50’C |
| Applicable Environment | Indoor Lighting, Used in Home down light, Stairwell lighting. |